## Checklist Template
Permit_ID | Permit_Name | Category | Step_Sequence | Question_Text | Capsule_Type
HW | Hot Work | hot_work | 1 | Has the specific location and nature of the work been clearly defined? | YNNA
HW | Hot Work | hot_work | 2 | Is the hot work permit posted at the job site for the duration of the work? | YNNA
HW | Hot Work | hot_work | 3 | Have all personnel involved been trained and certified in hot work safety procedures? | YNNA
HW | Hot Work | hot_work | 4 | Are the permit start and expiration times clearly documented and understood? | YNNA
HW | Hot Work | hot_work | 5 | Have all alternative methods to hot work been evaluated and deemed impractical? | YNNA
HW | Hot Work | hot_work | 6 | Is the area within a 35-foot radius clear of all combustible materials and flammable liquids? | YNNA
HW | Hot Work | hot_work | 7 | Have all floors and surfaces been swept clean of paper, wood scraps, and textile lint? | YNNA
HW | Hot Work | hot_work | 8 | Are combustible floors wetted down, covered with damp sand, or protected by fire-resistant shields? | YNNA
HW | Hot Work | hot_work | 9 | Have all wall and floor openings, gaps, or cracks been tightly covered with fire-retardant material? | YNNA
HW | Hot Work | hot_work | 10 | Are conveyor systems that could carry sparks to distant combustibles shut down and protected? | YNNA
HW | Hot Work | hot_work | 11 | If working on walls or ceilings, have combustibles on the opposite side been moved or shielded? | YNNA
HW | Hot Work | hot_work | 12 | Has all hot work equipment been inspected and found to be in safe operating condition? | YNNA
HW | Hot Work | hot_work | 13 | Are gas cylinders secured in an upright position and kept away from heat sources? | YNNA
HW | Hot Work | hot_work | 14 | Do fuel gas and oxygen hoses have functional backflow check valves and flashback arrestors? | YNNA
HW | Hot Work | hot_work | 15 | Are electric welding cables free of splices, frays, or exposed conductors within 10 feet of the electrode? | YNNA
HW | Hot Work | hot_work | 16 | Is the welding machine properly grounded to the work piece? | YNNA
HW | Hot Work | hot_work | 17 | Has the atmosphere been tested for flammable vapors using a calibrated gas detector? | YNNA
HW | Hot Work | hot_work | 18 | Is the concentration of flammable vapors below 10% of the Lower Explosive Limit ($LEL$)? | YNNA
HW | Hot Work | hot_work | 19 | Is mechanical local exhaust ventilation provided for work in confined or poorly ventilated spaces? | YNNA
HW | Hot Work | hot_work | 20 | Has the area been purged of any toxic or explosive fumes before commencement? | YNNA
HW | Hot Work | hot_work | 21 | Are fully charged and inspected fire extinguishers of the correct type immediately available? | YNNA
HW | Hot Work | hot_work | 22 | Is a dedicated fire watch present who has no other duties during the operation? | YNNA
HW | Hot Work | hot_work | 23 | Does the fire watch have a clear line of sight to all areas where sparks may fall? | YNNA
HW | Hot Work | hot_work | 24 | Is there a functioning means of communication to summon the fire department? | YNNA
HW | Hot Work | hot_work | 25 | Has a plan been established for a continuous fire watch for at least 60 minutes after work ends? | YNNA
HW | Hot Work | hot_work | 26 | Are automatic sprinkler systems in the area functional and not obstructed? | YNNA
HW | Hot Work | hot_work | 27 | Have all pipes or vessels containing flammable materials been disconnected or blanked off? | YNNA
HW | Hot Work | hot_work | 28 | Are pressurized lines bled down and depressurized before work begins? | YNNA
HW | Hot Work | hot_work | 29 | Have nearby smoke or heat detectors been shielded to prevent false alarms without compromising safety? | YNNA
HW | Hot Work | hot_work | 30 | Are fire blankets or welding curtains properly positioned to contain sparks and slag? | YNNA
ES | Enclosed Space Entry | enclosed_space | 1 | Has the atmosphere inside the space been tested for oxygen, flammables, and toxins? | YNNA
ES | Enclosed Space Entry | enclosed_space | 2 | Is the oxygen level safe with reading of 20.9%? | YNNA
ES | Enclosed Space Entry | enclosed_space | 3 | Is the concentration of flammable gases below 1% of the Lower Explosive Limit (LEL)? | YNNA
ES | Enclosed Space Entry | enclosed_space | 4 | Have all toxic gas levels (such as H2S or CO) been verified as below the permissible exposure limits? | YNNA
ES | Enclosed Space Entry | enclosed_space | 5 | Is a valid, signed Enclosed Space Entry Permit posted at the entrance? | YNNA
ES | Enclosed Space Entry | enclosed_space | 6 | Have all energy sources (electrical, mechanical, hydraulic) been locked out and tagged? | YNNA
ES | Enclosed Space Entry | enclosed_space | 7 | Have all connecting pipelines been disconnected, blanked off, or double-block-and-bled? | YNNA
ES | Enclosed Space Entry | enclosed_space | 8 | Is continuous mechanical ventilation being provided and the intake located in a clean air zone? | YNNA
ES | Enclosed Space Entry | enclosed_space | 9 | Has the space been thoroughly cleaned, purged, or flushed of hazardous residues? | YNNA
ES | Enclosed Space Entry | enclosed_space | 10 | Is there a designated and trained Attendant (Standby Person) stationed at the entrance? | YNNA
ES | Enclosed Space Entry | enclosed_space | 11 | Does the Attendant have a reliable means of communication with the entrants and emergency services? | YNNA
ES | Enclosed Space Entry | enclosed_space | 12 | Is there a dedicated entry/exit log to track all personnel currently inside the space? | YNNA
ES | Enclosed Space Entry | enclosed_space | 13 | Have all entrants been briefed on the specific hazards and the evacuation plan? | YNNA
ES | Enclosed Space Entry | enclosed_space | 14 | Are appropriate Personal Protective Equipment (PPE) and respiratory protection available and inspected? | YNNA
ES | Enclosed Space Entry | enclosed_space | 15 | Is a rescue tripod, hoist, or recovery harness positioned and ready for immediate use? | YNNA
ES | Enclosed Space Entry | enclosed_space | 16 | Is a self-contained breathing apparatus (SCBA) or emergency escape set available at the entrance? | YNNA
ES | Enclosed Space Entry | enclosed_space | 17 | Is the lighting used inside the space explosion-proof and of the correct voltage? | YNNA
ES | Enclosed Space Entry | enclosed_space | 18 | Are all gas detectors calibrated and bump-tested prior to this specific entry? | YNNA
ES | Enclosed Space Entry | enclosed_space | 19 | Has a formal rescue plan been established and a rescue team identified? | YNNA
ES | Enclosed Space Entry | enclosed_space | 20 | Is the area around the entrance clear of obstructions and potential tripping hazards? | YNNA
ES | Enclosed Space Entry | enclosed_space | 21 | Have nearby workers been notified to prevent the discharge of materials into the space? | YNNA